## Setup & Instructions
2Labs UniFi Planning Workbook
A practical, vendor-neutral planning companion for rural Kansas small businesses, churches/nonprofits, and farms with roughly 1–30 staff.
How to use this workbook
Step | Action | What it means
1 | Start with known facts | Enter only values you can support. Yellow cells are user inputs. Leave uncertain values blank rather than guessing.
2 | Work through each planner | Compare five-year ownership cost, check PoE power, estimate Protect storage, and outline door-access costs.
3 | Treat outputs as planning estimates | Green cells are calculated. They are not quotes, final designs, or guarantees.
4 | Use the checklist | Mark items Yes, No, Unknown, or N/A. Unknowns remain visible and prevent the workbook from declaring readiness.
5 | Validate before purchase | Confirm model-specific tech specs, current pricing, camera settings, storage layout, door hardware, codes, permits, and installation scope.
Workbook map
Sheet | Purpose
5-Year Cost | Compare up-front and recurring costs over five years without assuming subscriptions or support are zero.
PoE Capacity | Test switch PoE budget against device maximum wattage, an editable reserve, and editable 20% planning headroom.
Protect Storage | Estimate camera storage from bitrate, recording hours, event factor, retention, overhead, and usable-capacity assumptions.
Door Access Budget | Build a transparent planning allowance for doors, hubs, readers, locks, cabling, life-safety/permits, labor, and subscriptions.
Decision Checklist | Surface operational and support unknowns without auto-declaring a winner.
Sources & Assumptions | See formula definitions, planning assumptions, caveats, and official Ubiquiti source URLs.
Color key
Yellow | Enter or revise this value. |  | Green | Calculated result; check input completeness.
Planning aid only — not a quote, engineering design, code review, or guarantee. Confirm current specifications, pricing, licensing, electrical/low-voltage requirements, permits, and life-safety requirements with qualified parties.

## 5-Year Cost
Network Five-Year Cost Comparison
Use like-for-like scope. Enter 0 only when a cost is truly zero; leave unknown costs blank so the result stays marked incomplete.
Cost category | UniFi plan | Alternative A | Alternative B | Timing / formula | Notes
Hardware purchase |  |  |  | One-time, Year 1 | Document scope/vendor/model or why a confirmed zero applies.
Installation / configuration |  |  |  | One-time, Year 1 | Document scope/vendor/model or why a confirmed zero applies.
Annual subscriptions / licenses |  |  |  | Annual × 5 | Document scope/vendor/model or why a confirmed zero applies.
Annual support / administration |  |  |  | Annual × 5 | Document scope/vendor/model or why a confirmed zero applies.
Annual replacement reserve |  |  |  | Annual × 5 | Document scope/vendor/model or why a confirmed zero applies.
Five-year results
Result | UniFi plan | Alternative A | Alternative B | Interpretation
Estimated five-year total |  |  |  | Compare total cost only after scope, performance, support responsibility, and replacement assumptions are comparable. Lowest total is not automatically the best fit.
Input completeness |  |  |  | Blank means unknown; 0 means confirmed zero. The workbook intentionally will not total an incomplete option.
Optional annual cash-flow view
Year | UniFi plan | Alternative A | Alternative B | Formula
1 |  |  |  | Year 1 includes hardware + installation + annual costs; Years 2–5 include annual costs.
2 |  |  |  | Year 1 includes hardware + installation + annual costs; Years 2–5 include annual costs.
3 |  |  |  | Year 1 includes hardware + installation + annual costs; Years 2–5 include annual costs.
4 |  |  |  | Year 1 includes hardware + installation + annual costs; Years 2–5 include annual costs.
5 |  |  |  | Year 1 includes hardware + installation + annual costs; Years 2–5 include annual costs.
Planning aid only — not a quote, engineering design, code review, or guarantee. Confirm current specifications, pricing, licensing, electrical/low-voltage requirements, permits, and life-safety requirements with qualified parties.
Note on B5: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on C5: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on D5: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on B6: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on C6: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on D6: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on B7: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on C7: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on D7: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on B8: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on C8: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on D8: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on B9: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on C9: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.
Note on D9: Enter a documented estimate. Use 0 only if confirmed; otherwise leave blank.

## PoE Capacity
PoE Capacity Calculator
Use the selected switch model's published total PoE availability and each powered device's published maximum power consumption.
Switch and planning inputs
Switch model / source |  |  |  |  | Leave blank if unknown; use model-specific tech specs rather than typical draw.
Published switch PoE budget (W) |  |  |  |  | Leave blank if unknown; use model-specific tech specs rather than typical draw.
Fixed reserve for future devices (W) |  |  |  |  | Leave blank if unknown; use model-specific tech specs rather than typical draw.
Planning headroom on listed devices |  |  | 20% |  | Leave blank if unknown; use model-specific tech specs rather than typical draw.
Device type / model | Quantity | Max watts each | Listed load (W) | Source / notes
Capacity results
Listed device load (W) |  |  |  |  | Check per-port PoE class, total switch budget, cable length/quality, startup behavior, and any hub pass-through limits separately.
Device load with headroom (W) |  |  |  |  | Check per-port PoE class, total switch budget, cable length/quality, startup behavior, and any hub pass-through limits separately.
Required budget incl. fixed reserve (W) |  |  |  |  | Check per-port PoE class, total switch budget, cable length/quality, startup behavior, and any hub pass-through limits separately.
Remaining PoE budget (W) |  |  |  |  | Check per-port PoE class, total switch budget, cable length/quality, startup behavior, and any hub pass-through limits separately.
Planning status |  |  |  |  | Check per-port PoE class, total switch budget, cable length/quality, startup behavior, and any hub pass-through limits separately.
Planning aid only — not a quote, engineering design, code review, or guarantee. Confirm current specifications, pricing, licensing, electrical/low-voltage requirements, permits, and life-safety requirements with qualified parties.
Note on D5: Editable planning input. The 20% default is a conservative 2Labs planning assumption, not a Ubiquiti requirement.
Note on D6: Editable planning input. The 20% default is a conservative 2Labs planning assumption, not a Ubiquiti requirement.
Note on D7: Editable planning input. The 20% default is a conservative 2Labs planning assumption, not a Ubiquiti requirement.
Note on D8: Editable planning input. The 20% default is a conservative 2Labs planning assumption, not a Ubiquiti requirement.

## Protect Storage
UniFi Protect Storage Planning
Estimate first, then validate against the current UniFi Capacity Calculator and actual camera settings. Variable bitrate, detections, firmware, scene activity, and storage configuration can change retention.
Storage and retention inputs
Retention target (days) |  |  |  |  | Policy target; confirm legal/insurance needs.
Storage overhead / free-space reserve |  |  | 10% |  | Editable planning reserve for filesystem overhead, free space, and estimation error.
Expected usable fraction of raw disk capacity |  |  |  |  | Enter a documented usable/raw fraction for the selected appliance, drive count, and protection mode. Do not assume 100%.
Planned raw installed capacity (TB) |  |  |  |  | Sum of nominal raw drive capacity; actual usable capacity differs.
Camera group / model | Camera count | Average bitrate (Mbps) | Scheduled hours/day | Event recording factor | Estimated GB/day | Notes / source
Storage results
Estimated recorded data per day (GB) |  |  |  |  | Estimate only. RAID/storage protection reduces usable capacity but improves failure tolerance; RAID is not a backup. Export/archive critical footage separately.
Video data for retention target (TB) |  |  |  |  | Estimate only. RAID/storage protection reduces usable capacity but improves failure tolerance; RAID is not a backup. Export/archive critical footage separately.
Required usable capacity incl. reserve (TB) |  |  |  |  | Estimate only. RAID/storage protection reduces usable capacity but improves failure tolerance; RAID is not a backup. Export/archive critical footage separately.
Estimated raw capacity required (TB) |  |  |  |  | Estimate only. RAID/storage protection reduces usable capacity but improves failure tolerance; RAID is not a backup. Export/archive critical footage separately.
Estimated usable capacity installed (TB) |  |  |  |  | Estimate only. RAID/storage protection reduces usable capacity but improves failure tolerance; RAID is not a backup. Export/archive critical footage separately.
Capacity margin vs. required usable (TB) |  |  |  |  | Estimate only. RAID/storage protection reduces usable capacity but improves failure tolerance; RAID is not a backup. Export/archive critical footage separately.
Planning status |  |  |  |  | Estimate only. RAID/storage protection reduces usable capacity but improves failure tolerance; RAID is not a backup. Export/archive critical footage separately.
Planning aid only — not a quote, engineering design, code review, or guarantee. Confirm current specifications, pricing, licensing, electrical/low-voltage requirements, permits, and life-safety requirements with qualified parties.
Note on E11: Use 100% for continuous recording during the scheduled hours. For event-only recording, enter an evidence-based fraction of scheduled time expected to be recorded.
Note on E12: Use 100% for continuous recording during the scheduled hours. For event-only recording, enter an evidence-based fraction of scheduled time expected to be recorded.
Note on E13: Use 100% for continuous recording during the scheduled hours. For event-only recording, enter an evidence-based fraction of scheduled time expected to be recorded.
Note on E14: Use 100% for continuous recording during the scheduled hours. For event-only recording, enter an evidence-based fraction of scheduled time expected to be recorded.
Note on E15: Use 100% for continuous recording during the scheduled hours. For event-only recording, enter an evidence-based fraction of scheduled time expected to be recorded.
Note on E16: Use 100% for continuous recording during the scheduled hours. For event-only recording, enter an evidence-based fraction of scheduled time expected to be recorded.
Note on E17: Use 100% for continuous recording during the scheduled hours. For event-only recording, enter an evidence-based fraction of scheduled time expected to be recorded.
Note on E18: Use 100% for continuous recording during the scheduled hours. For event-only recording, enter an evidence-based fraction of scheduled time expected to be recorded.
Note on E19: Use 100% for continuous recording during the scheduled hours. For event-only recording, enter an evidence-based fraction of scheduled time expected to be recorded.
Note on E20: Use 100% for continuous recording during the scheduled hours. For event-only recording, enter an evidence-based fraction of scheduled time expected to be recorded.

## Door Access Budget
Door Access Budget Planner
Build a transparent allowance. Door conditions, egress, fire alarm interfaces, power, permitting, and local authority requirements can materially change scope.
Project inputs
Project / location |  |  |  |  | Enter a known project value. Default horizon may be set to 5 for comparison.
Number of controlled doors |  |  |  |  | Enter a known project value. Default horizon may be set to 5 for comparison.
Planning horizon (years) |  |  | 5 |  | Enter a known project value. Default horizon may be set to 5 for comparison.
Budget item | Quantity | Unit allowance | One-time subtotal | Annual cost | Basis / notes
Access control hubs / controllers |  |  |  | 0
Entry readers / intercoms |  |  |  | 0
Exit readers / request-to-exit devices |  |  |  | 0
Lock hardware allowance per door |  |  |  | 0
Door position sensors / accessories |  |  |  | 0
Cabling and pathways allowance |  |  |  | 0
Life-safety, fire interface, permits, inspections |  |  |  | 0
Installation, programming, testing, training |  |  |  | 0
Other one-time allowance |  |  |  | 0
Subscriptions / licenses / hosted services |  |  | 0
Ongoing support / administration |  |  | 0
Budget results
One-time project allowance |  |  |  |  | Planning allowance only. Obtain site-specific pricing and qualified review. Do not use this sheet as authorization to alter egress or fire/life-safety systems.
Annual recurring allowance |  |  |  |  | Planning allowance only. Obtain site-specific pricing and qualified review. Do not use this sheet as authorization to alter egress or fire/life-safety systems.
Planning-horizon total |  |  |  |  | Planning allowance only. Obtain site-specific pricing and qualified review. Do not use this sheet as authorization to alter egress or fire/life-safety systems.
Average per controlled door |  |  |  |  | Planning allowance only. Obtain site-specific pricing and qualified review. Do not use this sheet as authorization to alter egress or fire/life-safety systems.
Input status |  |  |  |  | Planning allowance only. Obtain site-specific pricing and qualified review. Do not use this sheet as authorization to alter egress or fire/life-safety systems.
Planning aid only — not a quote, engineering design, code review, or guarantee. Confirm current specifications, pricing, licensing, electrical/low-voltage requirements, permits, and life-safety requirements with qualified parties.
Note on E10: Enter 0 only when confirmed. One-time items usually have 0 annual cost.
Note on E11: Enter 0 only when confirmed. One-time items usually have 0 annual cost.
Note on E12: Enter 0 only when confirmed. One-time items usually have 0 annual cost.
Note on E13: Enter 0 only when confirmed. One-time items usually have 0 annual cost.
Note on E14: Enter 0 only when confirmed. One-time items usually have 0 annual cost.
Note on E15: Enter 0 only when confirmed. One-time items usually have 0 annual cost.
Note on E16: Enter 0 only when confirmed. One-time items usually have 0 annual cost.
Note on E17: Enter 0 only when confirmed. One-time items usually have 0 annual cost.
Note on E18: Enter 0 only when confirmed. One-time items usually have 0 annual cost.
Note on D19: Enter any one-time setup amount, otherwise confirmed 0.
Note on D20: Enter any one-time setup amount, otherwise confirmed 0.

## Decision Checklist
Readiness & Decision Checklist
This sheet highlights gaps; it does not score vendors or automatically declare a winner. Mark Unknown when evidence is missing.
Area | Question | Response | Importance | Evidence / owner | Follow-up action
Internet & remote access | Can the site maintain reliable internet for desired remote-management features, while accepting that local functions may differ during an outage? | Unknown | High
Power resilience | Are gateway, switches, recorder, ISP equipment, and critical access devices covered by an appropriate UPS/generator plan? | Unknown | High
Support ownership | Is a named person or provider responsible for updates, backups/exports, alerts, and troubleshooting? | Unknown | High
Network design | Are device counts, uplinks, VLANs, Wi-Fi coverage, and growth documented rather than guessed? | Unknown | High
PoE | Has total and per-port PoE capacity been checked using maximum device wattage? | Unknown | High
Protect storage | Are camera bitrate, recording mode, retention, usable capacity, and export/archive needs validated? | Unknown | High
Physical security | Are camera placement, privacy, signage, evidence handling, and authorized access policies addressed? | Unknown | Medium
Door access | Has a qualified party reviewed door hardware, egress, fire alarm interface, ADA/accessibility, permits, and inspection needs? | Unknown | High
Operational fit | Can staff use the system after turnover, and is training/documentation included? | Unknown | Medium
Lifecycle | Are replacement reserve, spare equipment, warranty/RMA time, and end-of-life planning included? | Unknown | Medium
Alternatives | Have at least one credible alternative and the status quo been compared on equal scope and five-year cost? | Unknown | Medium
Procurement | Are current model availability, lead time, pricing, and subscription terms confirmed in writing? | Unknown | Medium
Checklist summary
Yes
No
Unknown
N/A
Decision guidance
Planning aid only — not a quote, engineering design, code review, or guarantee. Confirm current specifications, pricing, licensing, electrical/low-voltage requirements, permits, and life-safety requirements with qualified parties.

## Sources & Assumptions
Sources, Assumptions & Formula Notes
Official sources are provided for facts that may change. Accessed October 7, 2026. Always re-check current model specifications and software behavior before purchase.
Topic | Workbook treatment / formula | Source type | Official source URL | Caveat / action
Five-year cost | Total = hardware + installation + 5 × (annual subscriptions + annual support + annual replacement reserve). Result stays 'Input needed' until all five entries are numeric. | Workbook formula |  | All prices and scope are user-supplied; no internal margin, labor rate, markup, discount, or replacement rate is embedded.
PoE availability | Required budget = sum(quantity × max watts) × (1 + headroom) + fixed reserve. | Ubiquiti Help Center | https://help.ui.com/hc/en-us/articles/115000263008-PoE-Availability-and-Modes | Ubiquiti states switch PoE availability must exceed connected device requirements. Also verify per-port PoE standard/class.
20% PoE headroom | Default editable headroom is 20%. | 2Labs planning assumption |  | Not a Ubiquiti requirement. Change it to match risk tolerance, startup behavior, future plans, and engineering guidance.
Protect recording | GB/day = cameras × Mbps ÷ 8 × 3,600 × scheduled hours/day × event factor ÷ 1,000. | Workbook estimate + Ubiquiti Help Center | https://help.ui.com/hc/en-us/articles/29393161732119-Managing-Storage-and-Retention-in-UniFi-Protect | Uses decimal GB/TB and an average bitrate. Validate with current Protect tools and observed data; enhanced retention and camera settings can change results.
RAID / usable storage | Required raw TB = required usable TB ÷ entered usable fraction. | Ubiquiti Help Center | https://help.ui.com/hc/en-us/articles/12395353544727 | Usable fraction depends on appliance, drive count/size, and storage-protection mode. RAID improves availability but is not a backup.
Protect recording modes | User enters scheduled hours and event-recording factor; 100% represents continuous recording during scheduled hours. | Ubiquiti Help Center | https://help.ui.com/hc/en-us/articles/27723320017815-UniFi-Protect-Recording-Modes-Schedules | Event activity varies. Use observed or conservative factors; critical footage may need export/archive.
UniFi Access hub selection | Quantities and unit allowances are explicit user inputs. | Ubiquiti Help Center | https://help.ui.com/hc/en-us/articles/23964054398871-Choosing-a-UniFi-Access-Control-Hub | Confirm hub power method, reader support, cable distance, and model compatibility.
Door egress / life safety | Separate allowance is included for life-safety, fire interface, permits, and inspections. | Ubiquiti Help Center | https://help.ui.com/hc/en-us/articles/25769197902615-Wiring-Exit-and-Entry-Request-Devices-to-the-UniFi-Access-Control-Hub | Manufacturer guidance does not replace adopted codes or authority-having-jurisdiction requirements. Use qualified installers/designers.
UL 294 / Access | Workbook asks for qualified review rather than assuming compliance from product selection alone. | Ubiquiti Help Center | https://help.ui.com/hc/en-us/articles/24999589457175-Secure-Reliable-and-UL-294-Compliant-Door-Access-Control-with-UniFi-Access | Compliance depends on the complete listed installation, power, locking hardware, wiring, and local requirements.
Decision checklist | Unknown responses produce 'More information needed'; Yes/No counts are descriptive and do not generate a vendor score. | Workbook design |  | A business decision should consider risk, support capacity, alternatives, service availability, and site-specific requirements.
General limitations
This workbook is a planning aid, not a binding quote, bill of materials, construction document, code analysis, legal opinion, cybersecurity assessment, or engineering design.
Hardware availability, features, licensing, firmware behavior, and prices can change. Re-check official documentation and written vendor proposals at decision time.
Rural sites may have internet, power, travel-time, and replacement-part constraints that deserve explicit contingency planning.
Planning aid only — not a quote, engineering design, code review, or guarantee. Confirm current specifications, pricing, licensing, electrical/low-voltage requirements, permits, and life-safety requirements with qualified parties.